BUBBLER

Bubblers shall be Model 533 as manufactured under the brand name of Irritrol or approved equal.

Performance: The bubbler shall have an adjustable flow rate between 0 and 5.9 GPM. Depending on pressure and flow adjustment, the bubbler shall deliver between 0 and 2’ radius. The bubbler shall have a ½" female NPT inlet for attachment to a standard riser.